## M1
ENG_REF | BUILDING_ZONE | CATEGORY | FLOOR_LEVEL | SEQ_NO | DESCRIPTION | LOCATION | FED_FROM
ADP-B-B01-068-HVAC-DX(IU)-001 | B | SAU | B01 | 1 | IT Room Decorative Indoor Unit | B01 IT Room (BB.B01.068) | EDLP
ADP-B-B01-068-HVAC-DX(OU)-001 | B | SAU | B01 | 2 | IT Room Outdoor Unit | B01 IT Room (Parking Area) | EDLP
ADP-B-B01-066-HVAC-DX(IU)-001 | B | SAU | B01 | 3 | IT Room Decorative Indoor Unit | B01 IT Room (BS.B01.066) | EDLP
ADP-B-B01-066-HVAC-DX(OU)-001 | B | SAU | B01 | 4 | IT Room Outdoor Unit | B01 IT Room (Parking Area) | EDLP
ADP-B-B01-022-HVAC-DX(IU)-001 | B | SAU | B01 | 5 | IT Room Decorative Indoor Unit | B01 IT Room (BB.B01.022) | EDLP
ADP-B-B01-022-HVAC-DX(OU)-001 | B | SAU | B01 | 6 | IT Room Outdoor Unit | B01 IT Room (Ramp Area) | EDLP
ADP-B-B01-027-HVAC-DX(IU)-001 | B | SAU | B01 | 7 | IT Room Decorative Indoor Unit | B01 IT Room (BB.B01.027) | EDLP
ADP-B-B01-027-HVAC-DX(OU)-001 | B | SAU | B01 | 8 | IT Room Outdoor Unit | B01 IT Room (Parking Area) | EDLP
ADP-B-B01-077-HVAC-DX(IU)-001 | B | SAU | B01 | 9 | IT Room Decorative Indoor Unit | B01 IT Room (BB.B01.077) | EDLP
ADP-B-B01-077-HVAC-DX(OU)-001 | B | SAU | B01 | 10 | IT Room Outdoor Unit | B01 IT Room (Parking Area) | EDLP
ADP-B-B01-045-HVAC-DX(IU)-001 | B | SAU | B01 | 11 | IT Room Decorative Indoor Unit | B01 IT Room (BB.B01.045) | EDLP
ADP-B-B01-045-HVAC-DX(OU)-001 | B | SAU | B01 | 12 | IT Room Outdoor Unit | B01 IT Room (Ramp Area) | EDLP
ADP-B-B01-032-HVAC-DX(IU)-001 | B | SAU | B01 | 13 | IT Room Decorative Indoor Unit | B01 IT Room (BB.B01.032) | EDLP
ADP-B-B01-032-HVAC-DX(OU)-001 | B | SAU | B01 | 14 | IT Room Outdoor Unit | B01 IT Room (Parking Area) | EDLP
ADP-B-B01-008-HVAC-DX(IU)-001 | B | SAU | B01 | 15 | UPS Parking Decorative Indoor Unit | B01 UPS Parking (BB.B01.008) | EDLP
ADP-B-B01-008-HVAC-DX(OU)-001 | B | SAU | B01 | 16 | UPS Parking Outdoor Unit | B01 UPS Parking (Parking Area) | EDLP
ADP-B-B01-042-HVAC-DX(IU)-001 | B | SAU | B01 | 17 | Retail Waste Decorative Indoor Unit | B01 Retail Waste (BB.B01.042) | EDLP
ADP-B-B01-042-HVAC-DX(OU)-001 | B | SAU | B01 | 18 | Retail Waste Outdoor Unit | B01 Retail Waste (Parking Area) | EDLP
ADP-B-B01-042-HVAC-DX(IU)-001 | B | SAU | B01 | 19 | Retail Waste Decorative Indoor Unit | B01 Retail Waste (BB.B01.042) | EDLP
ADP-B-B01-042-HVAC-DX(OU)-001 | B | SAU | B01 | 20 | Retail Waste Outdoor Unit | B01 Retail Waste (Parking Area) | EDLP
ADP-B-B01-072-HVAC-DX(IU)-001 | B | SAU | B01 | 21 | FM Workshop Decorative Indoor Unit | B01 FM Workshop (BB.B01.072) | EDLP
ADP-B-B01-072-HVAC-DX(OU)-001 | B | SAU | B01 | 22 | FM Workshop Outdoor Unit | B01 FM Workshop (Parking Area) | EDLP
ADP-B-B01-072-HVAC-DX(IU)-002 | B | SAU | B01 | 23 | FM Workshop Decorative Indoor Unit | B01 FM Workshop (BB.B01.072) | EDLP
ADP-B-B01-072-HVAC-DX(OU)-002 | B | SAU | B01 | 24 | FM Workshop Outdoor Unit | B01 FM Workshop (Parking Area) | EDLP
ADP-B-B01-063-HVAC-DX(IU)-001 | B | SAU | B01 | 25 | General Recycling Area Decorative Indoor Unit | B01 General Recycling Area (BB.B01.063) | EDLP
ADP-B-B01-063-HVAC-DX(OU)-001 | B | SAU | B01 | 26 | General Recycling Area Outdoor Unit | B01 General Recycling Area (Parking Area) | EDLP
ADP-B-B01-063-HVAC-DX(IU)-001 | B | SAU | B01 | 27 | General Recycling Area Decorative Indoor Unit | B01 General Recycling Area (BB.B01.063) | EDLP
ADP-B-B01-063-HVAC-DX(OU)-001 | B | SAU | B01 | 28 | General Recycling Area Outdoor Unit | B01 General Recycling Area (Parking Area) | EDLP
ADP-B-B01-061-HVAC-DX(IU)-001 | B | SAU | B01 | 29 | General Waste Processing Decorative Indoor Unit | B01 General Waste Processing (BB.B01.061) | EDLP
ADP-B-B01-061-HVAC-DX(OU)-001 | B | SAU | B01 | 30 | General Waste Processing Outdoor Unit | B01 General Waste Processing (Parking Area) | EDLP
ADP-B-B01-061-HVAC-DX(IU)-002 | B | SAU | B01 | 31 | General Waste Processing Decorative Indoor Unit | B01 General Waste Processing (BB.B01.061) | EDLP
ADP-B-B01-061-HVAC-DX(OU)-002 | B | SAU | B01 | 32 | General Waste Processing Outdoor Unit | B01 General Waste Processing (Parking Area) | EDLP
ADP-B-B01-060-HVAC-DX(IU)-001 | B | SAU | B01 | 33 | Compactor Unit Decorative Indoor Unit | B01 Compactor Unit (BB.B01.060) | EDLP
ADP-B-B01-060-HVAC-DX(OU)-001 | B | SAU | B01 | 34 | Compactor Unit Outdoor Unit | B01 Compactor Unit (Parking Area) | EDLP
ADP-B-B01-060-HVAC-DX(IU)-002 | B | SAU | B01 | 35 | Compactor Unit Decorative Indoor Unit | B01 Compactor Unit (BB.B01.060) | EDLP
ADP-B-B01-060-HVAC-DX(OU)-002 | B | SAU | B01 | 36 | Compactor Unit Outdoor Unit | B01 Compactor Unit (Parking Area) | EDLP
ADP-B-B01-060-HVAC-DX(IU)-003 | B | SAU | B01 | 37 | Compactor Unit Decorative Indoor Unit | B01 Compactor Unit (BB.B01.060) | EDLP
ADP-B-B01-060-HVAC-DX(OU)-003 | B | SAU | B01 | 38 | Compactor Unit Outdoor Unit | B01 Compactor Unit (Parking Area) | EDLP
ADP-B-B01-057-HVAC-DX(IU)-001 | B | SAU | B01 | 39 | FM Workshop Decorative Indoor Unit | B01 FM Workshop (BB.B01.057) | EDLP
ADP-B-B01-057-HVAC-DX(OU)-001 | B | SAU | B01 | 40 | FM Workshop Outdoor Unit | B01 FM Workshop (Parking Area) | EDLP
ADP-B-B01-057-HVAC-DX(IU)-002 | B | SAU | B01 | 41 | FM Workshop Decorative Indoor Unit | B01 FM Workshop (BB.B01.057) | EDLP
ADP-B-B01-057-HVAC-DX(OU)-002 | B | SAU | B01 | 42 | FM Workshop Outdoor Unit | B01 FM Workshop (Parking Area) | EDLP
ADP-B-B01-052-HVAC-DX(IU)-001 | B | SAU | B01 | 43 | FM Store Decorative Indoor Unit | B01 FM Store (BB.B01.052) | EDLP
ADP-B-B01-052-HVAC-DX(OU)-001 | B | SAU | B01 | 44 | FM Store Outdoor Unit | B01 FM Store (Parking Area) | EDLP
ADP-B-B01-052-HVAC-DX(IU)-002 | B | SAU | B01 | 45 | FM Store Decorative Indoor Unit | B01 FM Store (BB.B01.052) | EDLP
ADP-B-B01-052-HVAC-DX(OU)-002 | B | SAU | B01 | 46 | FM Store Outdoor Unit | B01 FM Store (Parking Area) | EDLP
ADP-B-B01-053-HVAC-DX(IU)-001 | B | SAU | B01 | 47 | Dock Manager Decorative Indoor Unit | B01 Dock Manager (BB.B01.053) | EDLP
ADP-B-B01-053-HVAC-DX(OU)-001 | B | SAU | B01 | 48 | Dock Manager Outdoor Unit | B01 Dock Manager (Parking Area) | EDLP
ADP-B-B01-024-HVAC-DX(IU)-001 | B | SAU | B01 | 49 | Retail Lobby Decorative Indoor Unit | B01 Retail Lobby (BF.B01.024) | EDLP
ADP-B-B01-024-HVAC-DX(OU)-001 | B | SAU | B01 | 50 | Retail Lobby Outdoor Unit | B01 Retail Lobby (Parking Area) | EDLP
ADP-B-B01-051-HVAC-DX(IU)-001 | B | SAU | B01 | 51 | Administration Room Ducted Indoor Unit | B01 Administration Room (BB.B01.051) | EDLP
ADP-B-B01-051-HVAC-DX(OU)-001 | B | SAU | B01 | 52 | Administration Room Outdoor Unit | B01 Administration Room (Parking Area) | EDLP
ADP-B-B01-050-HVAC-DX(IU)-001 | B | SAU | B01 | 53 | CCC Room Ducted Indoor Unit | B01 General Security Room (BB.B01.050) | EDLP
ADP-B-B01-050-HVAC-DX(OU)-001 | B | SAU | B01 | 54 | CCC Room Outdoor Unit | B01 General Security Room (Ramp Area) | EDLP
ADP-B-B01-050-HVAC-DX(IU)-002 | B | SAU | B01 | 55 | CCC Room Ducted Indoor Unit | B01 General Security Room (BB.B01.050) | EDLP
ADP-B-B01-050-HVAC-DX(OU)-002 | B | SAU | B01 | 56 | CCC Room Outdoor Unit | B01 General Security Room (Ramp Area) | EDLP
ADP-B-B01-049-HVAC-DX(IU)-001 | B | SAU | B01 | 57 | Administration Room Ducted Indoor Unit | B01 Administration Room (BB.B01.049) | EDLP
ADP-B-B01-049-HVAC-DX(OU)-001 | B | SAU | B01 | 58 | Administration Room Outdoor Unit | B01 Administration Room (Ramp Area) | EDLP
ADP-B-B01-005-HVAC-DX(IU)-001 | B | SAU | B01 | 59 | Parking Control Room Ducted Indoor Unit | B01 Parking Control Room (BB.B01.005) | EDLP
ADP-B-B01-005-HVAC-DX(OU)-001 | B | SAU | B01 | 60 | Parking Control Room Outdoor Unit | B01 Parking Control Room (Parking Area) | EDLP
ADP-B-B01-001-HVAC-DX(IU)-001 | B | SAU | B01 | 61 | Parking Control Desk Ducted Indoor Unit | B01 Parking Control Desk (BB.B01.001) | EDLP
ADP-B-B01-001-HVAC-DX(OU)-001 | B | SAU | B01 | 62 | Parking Control Desk Outdoor Unit | B01 Parking Control Desk (Parking Area) | EDLP
ADP-B-B01-006-HVAC-DX(IU)-001 | B | SAU | B01 | 63 | Main IT Room Ducted Indoor Unit | B01 Security Room (BB.B01.006) | EDLP
ADP-B-B01-006-HVAC-DX(OU)-001 | B | SAU | B01 | 64 | Main IT Room Outdoor Unit | B01 Security Room (Parking Area) | EDLP
ADP-B-B01-048-HVAC-DX(IU)-001 | B | SAU | B01 | 65 | Elec. UPS Decorative Indoor Unit | B01 Elec. UPS (BB.B01.048) | EDLP
ADP-B-B01-048-HVAC-DX(OU)-001 | B | SAU | B01 | 66 | Elec. UPS Outdoor Unit | B01 Elec. UPS (Ramp Area) | EDLP
ADP-B-B01-030-HVAC-DX(IU)-001 | B | SAU | B01 | 67 | Lift Lobby Decorative Indoor Unit | B01 Lift Lobby (BF.B01.030) | EDLP
ADP-B-B01-030-HVAC-DX(OU)-001 | B | SAU | B01 | 68 | Lift Lobby Outdoor Unit | B01 Lift Lobby (Ramp Area) | EDLP
ADP-B-B01-093-HVAC-DX(IU)-001 | B | SAU | B01 | 69 | Basement MDF Room Decorative Indoor Unit | B01 Basement MDF Room (BB.B01.093) | EDLP
ADP-B-B01-093-HVAC-DX(OU)-001 | B | SAU | B01 | 70 | Basement MDF Room Outdoor Unit | B01 Basement MDF Room (Parking Area) | EDLP
ADP-B-B01-009-HVAC-DX(IU)-001 | B | SAU | B01 | 71 | Retail Lift Lobby Decorative Indoor Unit | B01 Retail Lift Lobby (BB.B01.009) | EDLP
ADP-B-B01-009-HVAC-DX(OU)-001 | B | SAU | B01 | 72 | Retail Lift Lobby Outdoor Unit | B01 Retail Lift Lobby (Parking Area) | EDLP
ADP-B-B01-086-HVAC-DX(IU)-001 | B | SAU | B01 | 73 | Waste Room Decorative Indoor Unit | B01 Waste Room (BB.B01.086) | EDLP
ADP-B-B01-086-HVAC-DX(OU)-001 | B | SAU | B01 | 74 | Waste Room Outdoor Unit | B01 Waste Room (Parking Area) | EDLP
ADP-B-B01-089-HVAC-DX(IU)-001 | B | SAU | B01 | 75 | Waste Room Decorative Indoor Unit | B01 Waste Room (BB.B01.089) | EDLP
ADP-B-B01-089-HVAC-DX(OU)-001 | B | SAU | B01 | 76 | Waste Room Outdoor Unit | B01 Waste Room (Parking Area) | EDLP
ADP-B-B01-010-HVAC-DX(IU)-001 | B | SAU | B01 | 77 | Retail Waste Decorative Indoor Unit | B01 Retail Waste (BB.B01.010) | EDLP
ADP-B-B01-010-HVAC-DX(OU)-001 | B | SAU | B01 | 78 | Retail Waste Outdoor Unit | B01 Retail Waste (Parking Area) | EDLP
ADP-B-B01-010-HVAC-DX(IU)-002 | B | SAU | B01 | 79 | Retail Waste Decorative Indoor Unit | B01 Retail Waste (BB.B01.010) | EDLP
ADP-B-B01-010-HVAC-DX(OU)-002 | B | SAU | B01 | 80 | Retail Waste Outdoor Unit | B01 Retail Waste (Parking Area) | EDLP
ADP-B-B01-018-HVAC-DX(IU)-001 | B | SAU | B01 | 81 | Transformer Room Decorative Indoor Unit | B01 Transformer Room (BB.B01.018) | EDLP
ADP-B-B01-018-HVAC-DX(OU)-001 | B | SAU | B01 | 82 | Transformer Room Outdoor Unit | B01 Transformer Room (Ramp Area) | EDLP
ADP-B-B01-018-HVAC-DX(IU)-002 | B | SAU | B01 | 83 | Transformer Room Decorative Indoor Unit | B01 Transformer Room (BB.B01.018) | EDLP
ADP-B-B01-018-HVAC-DX(OU)-002 | B | SAU | B01 | 84 | Transformer Room Outdoor Unit | B01 Transformer Room (Ramp Area) | EDLP
ADP-B-B01-018-HVAC-DX(IU)-003 | B | SAU | B01 | 85 | Transformer Room Decorative Indoor Unit | B01 Transformer Room (BB.B01.018) | EDLP
ADP-B-B01-018-HVAC-DX(OU)-003 | B | SAU | B01 | 86 | Transformer Room Outdoor Unit | B01 Transformer Room (Ramp Area) | EDLP
ADP-B-B01-018-HVAC-DX(IU)-004 | B | SAU | B01 | 87 | Transformer Room Decorative Indoor Unit | B01 Transformer Room (BB.B01.018) | EDLP
ADP-B-B01-018-HVAC-DX(OU)-004 | B | SAU | B01 | 88 | Transformer Room Outdoor Unit | B01 Transformer Room (Ramp Area) | EDLP
ADP-B-B01-018-HVAC-DX(IU)-005 | B | SAU | B01 | 89 | Transformer Room Decorative Indoor Unit | B01 Transformer Room (BB.B01.018) | EDLP
ADP-B-B01-018-HVAC-DX(OU)-005 | B | SAU | B01 | 90 | Transformer Room Outdoor Unit | B01 Transformer Room (Ramp Area) | EDLP
ADP-B-B01-019-HVAC-DX(IU)-001 | B | SAU | B01 | 91 | MV Room Decorative Indoor Unit | B01 MV Room (BB.B01.019) | EDLP
ADP-B-B01-019-HVAC-DX(OU)-001 | B | SAU | B01 | 92 | MV Room Outdoor Unit | B01 MV Room (Ramp Area) | EDLP
ADP-B-B01-019-HVAC-DX(IU)-002 | B | SAU | B01 | 93 | MV Room Decorative Indoor Unit | B01 MV Room (BB.B01.019) | EDLP
ADP-B-B01-019-HVAC-DX(OU)-002 | B | SAU | B01 | 94 | MV Room Outdoor Unit | B01 MV Room (Ramp Area) | EDLP
ADP-B-B01-017-HVAC-DX(IU)-001 | B | SAU | B01 | 95 | LV Room Decorative Indoor Unit | B01 LV Room (BB.B01.017) | EDLP
ADP-B-B01-017-HVAC-DX(OU)-001 | B | SAU | B01 | 96 | LV Room Outdoor Unit | B01 LV Room (Ramp Area) | EDLP
ADP-B-B01-017-HVAC-DX(IU)-002 | B | SAU | B01 | 97 | LV Room Decorative Indoor Unit | B01 LV Room (BB.B01.017) | EDLP
ADP-B-B01-017-HVAC-DX(OU)-002 | B | SAU | B01 | 98 | LV Room Outdoor Unit | B01 LV Room (Ramp Area) | EDLP
ADP-B-B01-038-HVAC-DX(IU)-001 | B | SAU | B01 | 99 | MV Room Decorative Indoor Unit | B01 MV Room (BB.B01.038) | EDLP
ADP-B-B01-038-HVAC-DX(OU)-001 | B | SAU | B01 | 100 | MV Room Outdoor Unit | B01 MV Room (Parking Area) | EDLP
ADP-B-B01-038-HVAC-DX(IU)-002 | B | SAU | B01 | 101 | MV Room Decorative Indoor Unit | B01 MV Room (BB.B01.038) | EDLP
ADP-B-B01-038-HVAC-DX(OU)-002 | B | SAU | B01 | 102 | MV Room Outdoor Unit | B01 MV Room (Parking Area) | EDLP
ADP-B-B01-038-HVAC-DX(IU)-003 | B | SAU | B01 | 103 | MV Room Decorative Indoor Unit | B01 MV Room (BB.B01.038) | EDLP
ADP-B-B01-038-HVAC-DX(OU)-003 | B | SAU | B01 | 104 | MV Room Outdoor Unit | B01 MV Room (Ramp Area) | EDLP
ADP-B-B01-039-HVAC-DX(IU)-001 | B | SAU | B01 | 105 | LV Room Decorative Indoor Unit | B01 LV ROOM (BB.B01.039) | EDLP
ADP-B-B01-039-HVAC-DX(OU)-001 | B | SAU | B01 | 106 | LV Room Outdoor Unit | B01 LV ROOM (Parking Area) | EDLP
ADP-B-B01-039-HVAC-DX(IU)-002 | B | SAU | B01 | 107 | LV Room Decorative Indoor Unit | B01 LV ROOM (BB.B01.039) | EDLP
ADP-B-B01-039-HVAC-DX(OU)-002 | B | SAU | B01 | 108 | LV Room Outdoor Unit | B01 LV ROOM (Parking Area) | EDLP
ADP-B-B01-039-HVAC-DX(IU)-003 | B | SAU | B01 | 109 | LV Room Decorative Indoor Unit | B01 LV ROOM (BB.B01.039) | EDLP
ADP-B-B01-039-HVAC-DX(OU)-003 | B | SAU | B01 | 110 | LV Room Outdoor Unit | B01 LV ROOM (Parking Area) | EDLP
ADP-B-B01-115-HVAC-DX(IU)-001 | B | SAU | B01 | 111 | Operators Decorative Indoor Unit | B01 Operators (BB.B01.115) | EDLP
ADP-B-B01-115-HVAC-DX(OU)-001 | B | SAU | B01 | 112 | Operators Outdoor Unit | B01 Operators (Parking Area) | EDLP
ADP-B-B01-115-HVAC-DX(IU)-002 | B | SAU | B01 | 113 | Operators Decorative Indoor Unit | B01 Operators (BB.B01.115) | EDLP
ADP-B-B01-115-HVAC-DX(OU)-002 | B | SAU | B01 | 114 | Operators Outdoor Unit | B01 Operators (Parking Area) | EDLP
ADP-B-B01-091-HVAC-DX(IU)-001 | B | SAU | B01 | 115 | CBS Room Decorative Indoor Unit | B01 CBS Room (BB.B01.091) | EDLP
ADP-B-B01-091-HVAC-DX(OU)-001 | B | SAU | B01 | 116 | CBS Room Outdoor Unit | B01 CBS Room (BB.B01.091) | EDLP
ADP-B-B01-084-HVAC-DX(IU)-001 | B | SAU | B01 | 117 | CBS Room Decorative Indoor Unit | B01 CBS Room (BB.B01.084) | EDLP
ADP-B-B01-084-HVAC-DX(OU)-001 | B | SAU | B01 | 118 | CBS Room Outdoor Unit | B01 CBS Room (BB.B01.084) | EDLP
ADP‐B‐B01‐114‐HVAC‐DX(IU)‐001 | B | SAU | B01 | 119 | Central Telecom Room Decorative Indoor Unit | B01 Central Telecom Room (BB.B01.114) | EDLP
ADP‐B‐B01‐114‐HVAC‐DX(OU)‐001 | B | SAU | B01 | 120 | Central Telecom Room Outdoor Unit | B01 Central Telecom Room (BB.B01.114) | EDLP
ADP‐B‐B01‐114‐HVAC‐DX(IU)‐002 | B | SAU | B01 | 121 | Central Telecom Room Decorative Indoor Unit | B01 Central Telecom Room (BB.B01.114) | EDLP
ADP‐B‐B01‐114‐HVAC‐DX(OU)‐002 | B | SAU | B01 | 122 | Central Telecom Room Outdoor Unit | B01 Central Telecom Room (BB.B01.114) | EDLP
ADP‐B‐B01‐114‐HVAC‐DX(IU)‐003 | B | SAU | B01 | 123 | Central Telecom Room Decorative Indoor Unit | B01 Central Telecom Room (BB.B01.114) | EDLP
ADP‐B‐B01‐114‐HVAC‐DX(OU)‐003 | B | SAU | B01 | 124 | Central Telecom Room Outdoor Unit | B01 Central Telecom Room (BB.B01.114) | EDLP
ADP-B-B02-001-HVAC-DX(IU)-001 | B | SAU | B02 | 1 | IT Room Decorative Indoor Unit | B02 IT Room (BB.B02.001) | EDLP
ADP-B-B02-001-HVAC-DX(OU)-001 | B | SAU | B02 | 2 | IT Room Outdoor Unit | B02 IT Room (Parking Area) | EDLP
ADP-B-B02-004-HVAC-DX(IU)-001 | B | SAU | B02 | 3 | IT Room Decorative Indoor Unit | B02 IT Room (BB.B02.004) | EDLP
ADP-B-B02-004-HVAC-DX(OU)-001 | B | SAU | B02 | 4 | IT Room Outdoor Unit | B02 IT Room (Parking Area) | EDLP
ADP-B-B02-012-HVAC-DX(IU)-001 | B | SAU | B02 | 5 | IT Room Decorative Indoor Unit | B02 IT Room (BB.B02.012) | EDLP
ADP-B-B02-004-HVAC-DX(OU)-001 | B | SAU | B02 | 6 | IT Room Outdoor Unit | B02 IT Room (Parking Area) | EDLP
ADP-B-B02-006-HVAC-DX(IU)-001 | B | SAU | B02 | 7 | IT Room Decorative Indoor Unit | B02 IT Room (BB.B02.006) | EDLP
ADP-B-B02-006-HVAC-DX(OU)-001 | B | SAU | B02 | 8 | IT Room Outdoor Unit | B02 IT Room (Parking Area) | EDLP
ADP-B-B02-015-HVAC-DX(IU)-001 | B | SAU | B02 | 9 | IT Room Decorative Indoor Unit | B02 IT Room (BB.B02.015) | EDLP
ADP-B-B02-015-HVAC-DX(OU)-001 | B | SAU | B02 | 10 | IT Room Outdoor Unit | B02 IT Room (Parking Area) | EDLP
ADP-B-B02-019-HVAC-DX(IU)-001 | B | SAU | B02 | 11 | Lift Lobby Ducted Indoor Unit | B02 Lift Lobby (BF.B02.019) | EDLP
ADP-B-B02-019-HVAC-DX(OU)-001 | B | SAU | B02 | 12 | Lift Lobby Outdoor Unit | B02 Lift Lobby (Parking Area) | EDLP
ADP-B-B02-022-HVAC-DX(IU)-001 | B | SAU | B02 | 13 | IT Room Decorative Indoor Unit | B02 IT Room (BB.B02.022) | EDLP
ADP-B-B02-022-HVAC-DX(OU)-001 | B | SAU | B02 | 14 | IT Room Outdoor Unit | B02 IT Room (Parking Area) | EDLP
ADP-B-B02-025-HVAC-DX(IU)-001 | B | SAU | B02 | 15 | Lift Lobby Ducted Indoor Unit | B02 Lift Lobby (BB.B02.025) | EDLP
ADP-B-B02-025-HVAC-DX(OU)-001 | B | SAU | B02 | 16 | Lift Lobby Outdoor Unit | B02 Lift Lobby (Parking Area) | EDLP
ADP-B-B02-028-HVAC-DX(IU)-001 | B | SAU | B02 | 17 | IT Room Decorative Indoor Unit | B02 IT Room (BB.B02.028) | EDLP
ADP-B-B02-028-HVAC-DX(OU)-001 | B | SAU | B02 | 18 | IT Room Outdoor Unit | B02 IT Room (Parking Area) | EDLP
ADP-B-B02-032-HVAC-DX(IU)-001 | B | SAU | B02 | 19 | Retail Lift Lobby Ducted Indoor Unit | B02 Retail Lift Lobby (BB.B02.032) | EDLP
ADP-B-B02-032-HVAC-DX(OU)-001 | B | SAU | B02 | 20 | Retail Lift Lobby Outdoor Unit | B02 Retail Lift Lobby (Parking Area) | EDLP
ADP-B-B02-032-HVAC-DX(IU)-002 | B | SAU | B02 | 21 | Retail Lift Lobby Ducted Indoor Unit | B02 Retail Lift Lobby (BB.B02.032) | EDLP
ADP-B-B02-032-HVAC-DX(OU)-002 | B | SAU | B02 | 22 | Retail Lift Lobby Outdoor Unit | B02 Retail Lift Lobby (Parking Area) | EDLP
ADP-B-B02-002-HVAC-DX(IU)-001 | B | SAU | B02 | 23 | Elec. CBS Room Decorative Indoor Unit | B02 CBS Room (BB.B02.002) | EDLP
ADP-B-B02-002-HVAC-DX(OU)-001 | B | SAU | B02 | 24 | Elec. CBS Room Outdoor Unit | B02 Parking (BB.B02.002) | EDLP
ADP-B-B02-003-HVAC-DX(IU)-001 | B | SAU | B02 | 25 | Elec. CBS Room Decorative Indoor Unit | B02 CBS Room (BB.B02.003) | EDLP
ADP-B-B02-003-HVAC-DX(OU)-001 | B | SAU | B02 | 26 | Elec. CBS Room Outdoor Unit | B02 Parking (BB.B02.003) | EDLP
ADP-B-B02-007-HVAC-DX(IU)-001 | B | SAU | B02 | 27 | Elec. CBS Room Decorative Indoor Unit | B02 CBS Room (BB.B02.007) | EDLP
ADP-B-B02-007-HVAC-DX(OU)-001 | B | SAU | B02 | 28 | Elec. CBS Room Outdoor Unit | B02 Parking (BB.B02.007) | EDLP
ADP-B-B02-050-HVAC-DX(IU)-001 | B | SAU | B02 | 29 | Travelator Lobby Ducted Indoor Unit | B02 Travelator Lobby (BB.B02.050) | EDLP
ADP-B-B02-050-HVAC-DX(OU)-001 | B | SAU | B02 | 30 | Travelator Lobby Outdoor Unit | B02 Travelator Lobby (BB.B02.050) | EDLP
ADP-B-B03-005-HVAC-DX(IU)-001 | B | SAU | B03 | 1 | IT Room Decorative Indoor Unit | B03 IT Room (BB.B03.005) | EDLP
ADP-B-B03-005-HVAC-DX(OU)-001 | B | SAU | B03 | 2 | IT Room Outdoor Unit | B03 IT Room (Parking Area) | EDLP
ADP-B-B03-013-HVAC-DX(IU)-001 | B | SAU | B03 | 3 | IT Room Decorative Indoor Unit | B03 IT Room (BB.B03.013) | EDLP
ADP-B-B03-013-HVAC-DX(OU)-001 | B | SAU | B03 | 4 | IT Room Outdoor Unit | B03 IT Room (Parking Area) | EDLP
ADP-B-B03-018-HVAC-DX(IU)-001 | B | SAU | B03 | 5 | Lift Lobby Ducted Indoor Unit | B03 Lift Lobby (BB.B03.018) | EDLP
ADP-B-B03-018-HVAC-DX(OU)-001 | B | SAU | B03 | 6 | Lift Lobby Outdoor Unit | B03 Lift Lobby (Parking Area) | EDLP
ADP-B-B03-015-HVAC-DX(IU)-001 | B | SAU | B03 | 7 | IT Room Decorative Indoor Unit | B03 IT Room (BB.B03.015) | EDLP
ADP-B-B03-015-HVAC-DX(OU)-001 | B | SAU | B03 | 8 | IT Room Outdoor Unit | B03 IT Room (Parking Area) | EDLP
ADP-B-B03-021-HVAC-DX(IU)-001 | B | SAU | B03 | 9 | IT Room Decorative Indoor Unit | B03 IT Room (BB.B03.021) | EDLP
ADP-B-B03-021-HVAC-DX(OU)-001 | B | SAU | B03 | 10 | IT Room Outdoor Unit | B03 IT Room (Parking Area) | EDLP
ADP-B-B03-024-HVAC-DX(IU)-001 | B | SAU | B03 | 11 | Lift Lobby Ducted Indoor Unit | B03 Lift Lobby (BB.B03.024) | EDLP
ADP-B-B03-024-HVAC-DX(OU)-001 | B | SAU | B03 | 12 | Lift Lobby Outdoor Unit | B03 Lift Lobby (Parking Area) | EDLP
ADP-B-B03-028-HVAC-DX(IU)-001 | B | SAU | B03 | 13 | IT Room Decorative Indoor Unit | B03 IT Room (BB.B03.028) | EDLP
ADP-B-B03-028-HVAC-DX(OU)-001 | B | SAU | B03 | 14 | IT Room Outdoor Unit | B03 IT Room (Parking Area) | EDLP
ADP-B-B03-032-HVAC-DX(IU)-001 | B | SAU | B03 | 15 | Retail Lift Lobby Ducted Indoor Unit | B03 Retail Lift Lobby (BF.B03.032) | EDLP
ADP-B-B03-032-HVAC-DX(OU)-001 | B | SAU | B03 | 16 | Retail Lift Lobby Outdoor Unit | B03 Retail Lift Lobby (Parking Area) | EDLP
ADP-B-B03-032-HVAC-DX(IU)-002 | B | SAU | B03 | 17 | Retail Lift Lobby Ducted Indoor Unit | B03 Retail Lift Lobby (BF.B03.032) | EDLP
ADP-B-B03-032-HVAC-DX(OU)-002 | B | SAU | B03 | 18 | Retail Lift Lobby Outdoor Unit | B03 Retail Lift Lobby (Parking Area) | EDLP
ADP-B-B03-007-HVAC-DX(IU)-001 | B | SAU | B03 | 19 | IT Room Decorative Indoor Unit | B03 IT Room (BB.B03.007) | EDLP
ADP-B-B03-007-HVAC-DX(OU)-001 | B | SAU | B03 | 20 | IT Room Outdoor Unit | B03 IT Room (Parking Area) | EDLP
ADP-B-B03-001-HVAC-DX(IU)-001 | B | SAU | B03 | 21 | IT Room Decorative Indoor Unit | B03 IT Room (BB.B03.001) | EDLP
ADP-B-B03-001-HVAC-DX(OU)-001 | B | SAU | B03 | 22 | IT Room Outdoor Unit | B03 IT Room (Parking Area) | EDLP
ADP-B-B03-052-HVAC-DX(IU)-001 | B | SAU | B03 | 23 | Travelator Lobby Ducted Indoor Unit | B02 Travelator Lobby (BB.B03.052) | EDLP
ADP-B-B03-052-HVAC-DX(OU)-001 | B | SAU | B03 | 24 | Travelator Lobby Outdoor Unit | B02 Travelator Lobby (BB.B02.052) | EDLP
ADP-B-B04-003-HVAC-DX(IU)-001 | B | SAU | B04 | 1 | IT Room Decorative Indoor Unit | B04 IT Room (BB.B04.003) | EDLP
ADP-B-B04-003-HVAC-DX(OU)-001 | B | SAU | B04 | 2 | IT Room Outdoor Unit | B04 IT Room (Parking Area) | EDLP
ADP-B-B04-006-HVAC-DX(IU)-001 | B | SAU | B04 | 3 | IT Room Decorative Indoor Unit | B04 IT Room (BB.B04.006) | EDLP
ADP-B-B04-006-HVAC-DX(OU)-001 | B | SAU | B04 | 4 | IT Room Outdoor Unit | B04 IT Room (Parking Area) | EDLP
ADP-B-B04-008-HVAC-DX(IU)-001 | B | SAU | B04 | 5 | IT Room Decorative Indoor Unit | B04 IT Room (BB.B04.008) | EDLP
ADP-B-B04-008-HVAC-DX(OU)-001 | B | SAU | B04 | 6 | IT Room Outdoor Unit | B04 IT Room (Parking Area) | EDLP
ADP-B-B04-030-HVAC-DX(IU)-001 | B | SAU | B04 | 7 | IT Room Decorative Indoor Unit | B04 IT Room (BB.B04.030) | EDLP
ADP-B-B04-030-HVAC-DX(OU)-001 | B | SAU | B04 | 8 | IT Room Outdoor Unit | B04 IT Room (Parking Area) | EDLP
ADP-B-B04-024-HVAC-DX(IU)-001 | B | SAU | B04 | 9 | Lift Lobby Decorative Indoor Unit | B04 Lift Lobby (BB.B04.024) | EDLP
ADP-B-B04-024-HVAC-DX(OU)-001 | B | SAU | B04 | 10 | Lift Lobby Outdoor Unit | B04 Lift Lobby (Parking Area) | EDLP
ADP-B-B04-041-HVAC-DX(IU)-001 | B | SAU | B04 | 11 | Retail Lift Lobby Decorative Indoor Unit | B04 Retail Lift Lobby (BF.B04.041) | EDLP
ADP-B-B04-041-HVAC-DX(OU)-001 | B | SAU | B04 | 12 | Retail Lift Lobby Outdoor Unit | B04 Retail Lift Lobby (Parking Area) | EDLP
ADP-B-B04-041-HVAC-DX(IU)-002 | B | SAU | B04 | 13 | Retail Lift Lobby Decorative Indoor Unit | B04 Retail Lift Lobby (BF.B04.041) | EDLP
ADP-B-B04-041-HVAC-DX(OU)-002 | B | SAU | B04 | 14 | Retail Lift Lobby Outdoor Unit | B04 Retail Lift Lobby (Parking Area) | EDLP
ADP-B-B04-019-HVAC-DX(IU)-001 | B | SAU | B04 | 15 | Lift Lobby Decorative Indoor Unit | B04 Lift Lobby (BB.B04.019) | EDLP
ADP-B-B04-019-HVAC-DX(OU)-001 | B | SAU | B04 | 16 | Lift Lobby Outdoor Unit | B04 Lift Lobby (Parking Area) | EDLP
ADP-B-B04-016-HVAC-DX(IU)-001 | B | SAU | B04 | 17 | IT Room Decorative Indoor Unit | B04 IT Room (BB.B04.016) | EDLP
ADP-B-B04-016-HVAC-DX(OU)-001 | B | SAU | B04 | 18 | IT Room Outdoor Unit | B04 IT Room (Parking Area) | EDLP
ADP-B-B04-031-HVAC-DX(IU)-001 | B | SAU | B04 | 19 | IT Room Decorative Indoor Unit | B04 IT Room (BB.B04.031) | EDLP
ADP-B-B04-031-HVAC-DX(OU)-001 | B | SAU | B04 | 20 | IT Room Outdoor Unit | B04 IT Room (Parking Area) | EDLP
ADP-B-B04-028-HVAC-DX(IU)-001 | B | SAU | B04 | 21 | IT Room Decorative Indoor Unit | B04 IT Room (BB.B04.028) | EDLP
ADP-B-B04-028-HVAC-DX(OU)-001 | B | SAU | B04 | 22 | IT Room Outdoor Unit | B04 IT Room (Parking Area) | EDLP
ADP-H-L14-001-HVAC-DX(IU)-001 | H | SAU | L14 | 1 | Lift Motor Room Decorative Indoor Unit | L14 Lift Motor Room (HB.14.001) | EDLP
ADP-H-L14-001-HVAC-DX(OU)-001 | H | SAU | L14 | 2 | Lift Motor Room Outdoor Unit | L14 Chiller Room | EDLP
ADP-H-L14-003-HVAC-DX(IU)-001 | H | SAU | L14 | 3 | IT Room Decorative Indoor Unit | L14 IT Room (HB.14.003) | EDLP
ADP-H-L14-003-HVAC-DX(OU)-001 | H | SAU | L14 | 4 | IT Room Outdoor Unit | L14 Chiller Room | EDLP
ADP-H-L01-019-HVAC-DX(IU)-001 | H | SAU | L01 | 1 | Control Room Decorative Indoor Unit | L01 Control Room (HB.01.019) | EDLP
ADP-H-L01-019-HVAC-DX(OU)-001 | H | SAU | L01 | 2 | Control Room Outdoor Unit | L01 Ramp Area | EDLP
ADP-H-L01-019-HVAC-DX(IU)-002 | H | SAU | L01 | 1 | Control Room Decorative Indoor Unit | L01 Control Room (HB.01.019) | EDLP
ADP-H-L01-019-HVAC-DX(OU)-002 | H | SAU | L01 | 2 | Control Room Outdoor Unit | L01 Ramp Area | EDLP
ADP-H-L01-018-HVAC-DX(IU)-001 | H | SAU | L01 | 3 | Security Room Decorative Indoor Unit | L01 Security Room (HB.01.018) | EDLP
ADP-H-L01-018-HVAC-DX(OU)-001 | H | SAU | L01 | 4 | Security Room Outdoor Unit | L01 Ramp Area | EDLP
ADP-H-L01-030-HVAC-DX(IU)-001 | H | SAU | L01 | 5 | Hotel Security/BMC Decorative Indoor Unit | L01 Hotel Security/BMC (HB.01.030) | EDLP
ADP-H-B01-030-HVAC-DX(OU)-001 | H | SAU | L01 | 6 | Hotel Security/BMC Outdoor Unit | B01 HB.B01.027 | EDLP
ADP-H-L01-029-HVAC-DX(IU)-001 | H | SAU | L01 | 7 | IT / Control Room Decorative Indoor Unit | L01 IT / Control Room (HB.01.029) | EDLP
ADP-H-B01-029-HVAC-DX(OU)-001 | H | SAU | L01 | 8 | Room Decorative Outdoor Unit | B01 HB.B01.027 | EDLP
ADP-H-B01-022-HVAC-DX(IU)-001 | H | SAU | B01 | 1 | Room Decorative Indoor Unit | Room (HB.01.022) | EDLP
ADP-H-B01-022-HVAC-DX(OU)-001 | H | SAU | B01 | 2 | IT / Control Room Outdoor Unit | B01 Ramp Area | EDLP
ADP-H-B01-005-HVAC-DX(IU)-001 | H | SAU | B01 | 3 | UPS Room Decorative Indoor Unit | UPS Room (HB.B01.005) | EDLP
ADP-H-B01-005-HVAC-DX(OU)-001 | H | SAU | B01 | 4 | UPS Room Outdoor Unit | B01 Parking Area | EDLP
ADP-H-B01-006-HVAC-DX(IU)-001 | H | SAU | B01 | 5 | Waste Room Decorative Indoor Unit | B01 Waste Room (HB.B01.006) | EDLP
ADP-H-B01-006-HVAC-DX(OU)-001 | H | SAU | B01 | 6 | Waste Room Outdoor Unit | B01 Parking Area | EDLP
ADP-H-B01-007-HVAC-DX(IU)-001 | H | SAU | B01 | 7 | Waste Room Decorative Indoor Unit | B01 Waste Room (HB.B01.007) | EDLP
ADP-H-B01-007-HVAC-DX(OU)-001 | H | SAU | B01 | 8 | Waste Room Outdoor Unit | B01 Parking Area | EDLP
ADP-H-B01-071-HVAC-DX(IU)-001 | H | SAU | B01 | 9 | Receiving Office Decorative Indoor Unit | B01 Receiving Office (HB.B01.071) | EDLP
ADP-H-B01-071-HVAC-DX(OU)-001 | H | SAU | B01 | 10 | Receiving Office Outdoor Unit | B01 Parking Area | EDLP
ADP-H-B01-069-HVAC-DX(IU)-001 | H | SAU | B01 | 11 | Hotel Secure Decent Zone Decorative Indoor Unit | B01 Hotel Secure Decent Zone (HB.B01.069) | EDLP
ADP-H-B01-069-HVAC-DX(OU)-001 | H | SAU | B01 | 12 | Hotel Secure Decent Zone Outdoor Unit | B01 Parking Area | EDLP
ADP-H-B01-069-HVAC-DX(IU)-002 | H | SAU | B01 | 13 | Hotel Secure Decent Zone Decorative Indoor Unit | B01 Hotel Secure Decent Zone (HB.B01.069) | EDLP
ADP-H-B01-069-HVAC-DX(OU)-002 | H | SAU | B01 | 14 | Hotel Secure Decent Zone Outdoor Unit | B01 Parking Area | EDLP
ADP-H-B01-049-HVAC-DX(IU)-001 | H | SAU | B01 | 15 | Meat Preparation Decorative Indoor Unit | B01 Meat Preparation (HB.B01.049) | EDLP
ADP-H-B01-049-HVAC-DX(OU)-001 | H | SAU | B01 | 16 | Meat Preparation Outdoor Unit | B01 Parking Area | EDLP
ADP-H-B01-048-HVAC-DX(IU)-001 | H | SAU | B01 | 17 | Fish Preparation Decorative Indoor Unit | B01 Fish Preparation (HB.B01.048) | EDLP
ADP-H-B01-048-HVAC-DX(OU)-001 | H | SAU | B01 | 18 | Fish Preparation Outdoor Unit | B01 Parking Area | EDLP
ADP-H-B01-073-HVAC-DX(IU)-001 | H | SAU | B01 | 19 | LV Room Decorative Indoor Unit | B01 LV Room (HB.B01.073) | EDLP
ADP-H-B01-073-HVAC-DX(OU)-001 | H | SAU | B01 | 20 | LV Room Outdoor Unit | B01 Parking Area | EDLP
ADP-H-B01-073-HVAC-DX(IU)-002 | H | SAU | B01 | 21 | LV Room Decorative Indoor Unit | B01 LV Room (HB.B01.073) | EDLP
ADP-H-B01-073-HVAC-DX(OU)-002 | H | SAU | B01 | 22 | LV Room Outdoor Unit | B01 Parking Area | EDLP
ADP-H-B01-073-HVAC-DX(IU)-003 | H | SAU | B01 | 23 | LV Room Decorative Indoor Unit | B01 LV Room (HB.B01.073) | EDLP
ADP-H-B01-073-HVAC-DX(OU)-003 | H | SAU | B01 | 24 | LV Room Outdoor Unit | B01 Parking Area | EDLP
ADP-H-B01-075-HVAC-DX(IU)-001 | H | SAU | B01 | 25 | MV Room Decorative Indoor Unit | B01 MV Room (HB.B01.075) | EDLP
ADP-H-B01-075-HVAC-DX(OU)-001 | H | SAU | B01 | 26 | MV Room Outdoor Unit | B01 Parking Area | EDLP
ADP-H-B01-075-HVAC-DX(IU)-002 | H | SAU | B01 | 27 | MV Room Decorative Indoor Unit | B01 MV Room (HB.B01.075) | EDLP
ADP-H-B01-075-HVAC-DX(OU)-002 | H | SAU | B01 | 28 | MV Room Outdoor Unit | B01 Parking Area | EDLP
ADP-H-B01-072-HVAC-DX(IU)-001 | H | SAU | B01 | 29 | Transformer Room Decorative Indoor Unit | B01 Transformer Room (HB.B01.072) | EDLP
ADP-H-B01-072-HVAC-DX(OU)-001 | H | SAU | B01 | 30 | Transformer Room Outdoor Unit | B01 Parking Area | EDLP
ADP-H-B01-072-HVAC-DX(IU)-002 | H | SAU | B01 | 31 | Transformer Room Decorative Indoor Unit | B01 Transformer Room (HB.B01.072) | EDLP
ADP-H-B01-072-HVAC-DX(OU)-002 | H | SAU | B01 | 32 | Transformer Room Outdoor Unit | B01 Parking Area | EDLP
ADP-H-B01-072-HVAC-DX(IU)-003 | H | SAU | B01 | 33 | Transformer Room Decorative Indoor Unit | B01 Transformer Room (HB.B01.072) | EDLP
ADP-H-B01-072-HVAC-DX(OU)-003 | H | SAU | B01 | 34 | Transformer Room Outdoor Unit | B01 Parking Area | EDLP
ADP-H-B01-072-HVAC-DX(IU)-004 | H | SAU | B01 | 35 | Transformer Room Decorative Indoor Unit | B01 Transformer Room (HB.B01.072) | EDLP
ADP-H-B01-072-HVAC-DX(OU)-004 | H | SAU | B01 | 36 | Transformer Room Outdoor Unit | B01 Parking Area | EDLP
ADP-H-B01-072-HVAC-DX(IU)-005 | H | SAU | B01 | 37 | Transformer Room Decorative Indoor Unit | B01 Transformer Room (HB.B01.072) | EDLP
ADP-H-B01-072-HVAC-DX(OU)-005 | H | SAU | B01 | 38 | Transformer Room Outdoor Unit | B01 Parking Area | EDLP
ADP-H-B01-072-HVAC-DX(IU)-006 | H | SAU | B01 | 39 | Transformer Room Decorative Indoor Unit | B01 Transformer Room (HB.B01.072) | EDLP
ADP-H-B01-072-HVAC-DX(OU)-006 | H | SAU | B01 | 40 | Transformer Room Outdoor Unit | B01 Parking Area | EDLP
ADP-H-B01-072-HVAC-DX(IU)-007 | H | SAU | B01 | 41 | Transformer Room Decorative Indoor Unit | B01 Transformer Room (HB.B01.072) | EDLP
ADP-H-B01-072-HVAC-DX(OU)-007 | H | SAU | B01 | 42 | Transformer Room Outdoor Unit | B01 Parking Area | EDLP
ADP-H-B01-072-HVAC-DX(IU)-008 | H | SAU | B01 | 43 | Transformer Room Decorative Indoor Unit | B01 Transformer Room (HB.B01.072) | EDLP
ADP-H-B01-072-HVAC-DX(OU)-008 | H | SAU | B01 | 44 | Transformer Room Outdoor Unit | B01 Parking Area | EDLP
ADP-H-B01-072-HVAC-DX(IU)-009 | H | SAU | B01 | 45 | Transformer Room Decorative Indoor Unit | B01 Transformer Room (HB.B01.072) | EDLP
ADP-H-B01-072-HVAC-DX(OU)-009 | H | SAU | B01 | 46 | Transformer Room Outdoor Unit | B01 Parking Area | EDLP
ADP-H-B01-078-HVAC-DX(IU)-001 | H | SAU | B01 | 47 | UPS Room + Electrical Room Decorative Indoor Unit | UPS Room + Electrical Room (HB.B01.078) | EDLP
ADP-H-B01-078-HVAC-DX(OU)-001 | H | SAU | B01 | 48 | UPS Room Outdoor Unit | B01 Parking Area | EDLP
ADP-P-L02-020a-HVAC-DX(IU)-001 | P | SAU | L02 | 1 | IT Room Decorative Indoor Unit | L02 IT Room (PT.02.020a) | EDLP
ADP-P-B01-020a-HVAC-DX(OU)-001 | P | SAU | L02 | 2 | IT Room Outdoor Unit | B01 IT Room (Parking Area) | EDLP
ADP-P-L02-124-HVAC-DX(IU)-001 | P | SAU | L02 | 3 | IT Room Decorative Indoor Unit | L02 IT Room (PB.02.124) | EDLP
ADP-P-B01-124-HVAC-DX(OU)-001 | P | SAU | L02 | 4 | IT Room Outdoor Unit | B01 IT Room (Parking Area) | EDLP
ADP-P-L02-007-HVAC-DX(IU)-001 | P | SAU | L02 | 5 | IT Room Decorative Indoor Unit | L02 IT Room (PB.02.007) | EDLP
ADP-P-B01-007-HVAC-DX(OU)-001 | P | SAU | L02 | 6 | IT Room Outdoor Unit | B01 IT Room (PARKING AREA) | EDLP
ADP-P-L02-111-HVAC-DX(IU)-001 | P | SAU | L02 | 7 | IT Room Decorative Indoor Unit | L02 IT Room (PB.02.111) | EDLP
ADP-P-L01-111-HVAC-DX(OU)-001 | P | SAU | L02 | 8 | IT Room Outdoor Unit | L01 IT Room (Ramp Area) | EDLP
ADP-P-L02-030-HVAC-DX(IU)-001 | P | SAU | L02 | 9 | IT Room Decorative Indoor Unit | L02 IT Room (PB.02.030) | EDLP
ADP-P-L01-030-HVAC-DX(OU)-001 | P | SAU | L02 | 10 | IT Room Outdoor Unit | L01 IT Room (Parking Area) | EDLP
ADP-P-L02-078-HVAC-DX(IU)-001 | P | SAU | L02 | 11 | IT Room Decorative Indoor Unit | L02 IT Room (PB.02.078) | EDLP
ADP-P-B01-078-HVAC-DX(OU)-001 | P | SAU | L02 | 12 | IT Room Outdoor Unit | B01 IT Room (Parking Area) | EDLP
ADP-P-L02-099-HVAC-DX(IU)-001 | P | SAU | L02 | 13 | IT Room Decorative Indoor Unit | L02 IT Room (PB.02.099) | EDLP
ADP-P-L01-099-HVAC-DX(OU)-001 | P | SAU | L02 | 14 | IT Room Outdoor Unit | L01 IT Room (Ramp Area) | EDLP
ADP-P-L01-006-HVAC-DX(IU)-001 | P | SAU | L01 | 1 | IT Room Decorative Indoor Unit | L01 IT Room (PB.01.006) | EDLP
ADP-P-B01-006-HVAC-DX(OU)-001 | P | SAU | L01 | 2 | IT Room Outdoor Unit | B01 IT Room (Parking Area) | EDLP
ADP-P-L01-130-HVAC-DX(IU)-001 | P | SAU | L01 | 3 | IT Room Decorative Indoor Unit | L01 IT Room (PB.01.130) | EDLP
ADP-P-B01-130-HVAC-DX(OU)-001 | P | SAU | L01 | 4 | IT Room Outdoor Unit | B01 IT Room (Parking Area) | EDLP
ADP-P-L01-128-HVAC-DX(IU)-001 | P | SAU | L01 | 5 | IT Room Decorative Indoor Unit | L01 IT Room (PB.01.128) | EDLP
ADP-P-B01-128-HVAC-DX(OU)-001 | P | SAU | L01 | 6 | IT Room Outdoor Unit | B01 IT Room (Parking Area) | EDLP
ADP-P-L01-051-HVAC-DX(IU)-001 | P | SAU | L01 | 7 | IT Room Decorative Indoor Unit | L01 IT Room (PB.01.051) | EDLP
ADP-P-L01-051-HVAC-DX(OU)-001 | P | SAU | L01 | 8 | IT Room Outdoor Unit | L01 IT Room (RAMP FROM B01) | EDLP
ADP-P-L01-099-HVAC-DX(IU)-001 | P | SAU | L01 | 9 | IT Room Decorative Indoor Unit | L01 IT Room (PB.01.099) | EDLP
ADP-P-B01-099-HVAC-DX(OU)-001 | P | SAU | L01 | 10 | IT Room Outdoor Unit | B01 IT Room (Parking Area) | EDLP
ADP-P-L01-029-HVAC-DX(IU)-001 | P | SAU | L01 | 11 | IT Room Decorative Indoor Unit | L01 IT Room (PB.01.029) | EDLP
ADP-P-L01-029-HVAC-DX(OU)-001 | P | SAU | L01 | 12 | IT Room Outdoor Unit | L01 IT Room (RAMP FROM B01) | EDLP
ADP-P-L01-045-HVAC-DX(IU)-001 | P | SAU | L01 | 13 | IT Room Decorative Indoor Unit | L01 IT Room (PB.01.045) | EDLP
ADP-P-L01-045-HVAC-DX(OU)-001 | P | SAU | L01 | 14 | IT Room Outdoor Unit | L01 IT Room (RAMP) | EDLP
ADP-P-L01-065-HVAC-DX(IU)-001 | P | SAU | L01 | 15 | IT Room Decorative Indoor Unit | L01 IT Room (PB.01.065) | EDLP
ADP-P-L01-065-HVAC-DX(OU)-001 | P | SAU | L01 | 16 | IT Room Outdoor Unit | L01 IT Room (RAMP) | EDLP
ADP-P-L01-110-HVAC-DX(IU)-001 | P | SAU | L01 | 17 | Main IT Room Decorative Indoor Unit | L01 Main IT Room (PB.01.110) | EDLP
ADP-P-L01-110-HVAC-DX(OU)-001 | P | SAU | L01 | 18 | Main IT Room Outdoor Unit | L01 Main IT Room (RAMP) | EDLP
ADP-P-L01-110-HVAC-DX(IU)-002 | P | SAU | L01 | 19 | Main IT Room Decorative Indoor Unit | L01 Main IT Room (PB.01.110) | EDLP
ADP-P-L01-110-HVAC-DX(OU)-002 | P | SAU | L01 | 20 | Main IT Room Outdoor Unit | L01 Main IT Room (RAMP) | EDLP
ADP-P-L01-108-HVAC-DX(IU)-001 | P | SAU | L01 | 21 | Control Room Decorative Indoor Unit | L01 Control Room (PB.01.108) | EDLP
ADP-P-L01-108-HVAC-DX(OU)-001 | P | SAU | L01 | 22 | Control Room Outdoor Unit | L01 Control Room (RAMP) | EDLP
ADP-P-L01-005-HVAC-DX(IU)-001 | P | SAU | L01 | 23 | CBS Room Ceiling Suspended Indoor Unit | B01 CBS Room (PB.011.005) | EDLP
ADP-P-B01-005-HVAC-DX(OU)-001 | P | SAU | B01 | 24 | CBS Room Outdoor Unit | B01 CBS Room (Parking Area) | EDLP
ADP-P-B01-001-HVAC-DX(IU)-001 | P | SAU | B01 | 1 | Retail MDF Room Decorative Indoor Unit | B01 Retail MDF Room (PB.B01.001) | EDLP
ADP-P-B01-001-HVAC-DX(OU)-001 | P | SAU | B01 | 2 | Retail MDF Room Outdoor Unit | B01 Retail MDF Room (Parking Area) | EDLP
ADP-P-B01-035-HVAC-DX(IU)-001 | P | SAU | B01 | 3 | UPS Retail Battery Room Decorative Indoor Unit | B01 UPS Retail Battery Room (PB.B01.035) | EDLP
ADP-P-B01-035-HVAC-DX(OU)-001 | P | SAU | B01 | 4 | UPS Retail Battery Room Outdoor Unit | B01 UPS Retail Battery Room (Parking Area) | EDLP
ADP-P-B01-004-HVAC-DX(IU)-001 | P | SAU | B01 | 5 | MV Room Decorative Indoor Unit | B01 MV Room (PB.B01.004) | EDLP
ADP-P-B01-004-HVAC-DX(OU)-001 | P | SAU | B01 | 6 | MV Room Outdoor Unit | B01 MV Room (RAMP) | EDLP
ADP-P-B01-004-HVAC-DX(IU)-001 | P | SAU | B01 | 7 | MV Room Decorative Indoor Unit | B01 MV Room (PB.B01.004) | EDLP
ADP-P-B01-004-HVAC-DX(OU)-001 | P | SAU | B01 | 8 | MV Room Outdoor Unit | B01 MV Room (RAMP) | EDLP
ADP-P-B01-002-HVAC-DX(IU)-001 | P | SAU | B01 | 9 | LV Room Decorative Indoor Unit | B01 LV Room (PB.B01.002) | EDLP
ADP-P-B01-002-HVAC-DX(OU)-001 | P | SAU | B01 | 10 | LV Room Outdoor Unit | B01 LV Room (RAMP) | EDLP
ADP-P-B01-002-HVAC-DX(IU)-001 | P | SAU | B01 | 11 | LV Room Decorative Indoor Unit | B01 LV Room (PB.B01.002) | EDLP
ADP-P-B01-002-HVAC-DX(OU)-001 | P | SAU | B01 | 12 | LV Room Outdoor Unit | B01 LV Room (RAMP) | EDLP
ADP-O-L17-003-HVAC-DX(IU)-001 | O | SAU | L17 | 1 | MV Room Decorative Indoor Unit | L17 MV Room (OB.17.003) | EDLP
ADP-O-L17-003-HVAC-DX(OU)-001 | O | SAU | L17 | 2 | MV Room Outdoor Unit | L17 MV Room (OB.17.001) | EDLP
ADP-O-L17-003-HVAC-DX(IU)-002 | O | SAU | L17 | 3 | MV Room Decorative Indoor Unit | L17 MV Room (OB.17.003) | EDLP
ADP-O-L17-003-HVAC-DX(OU)-002 | O | SAU | L17 | 4 | MV Room Outdoor Unit | L17 MV Room (OB.17.001) | EDLP
ADP-O-L17-003-HVAC-DX(IU)-003 | O | SAU | L17 | 5 | MV Room Decorative Indoor Unit | L17 MV Room (OB.17.003) | EDLP
ADP-O-L17-003-HVAC-DX(OU)-003 | O | SAU | L17 | 6 | MV Room Outdoor Unit | L17 MV Room (OB.17.001) | EDLP
ADP-O-L17-004-HVAC-DX(IU)-001 | O | SAU | L17 | 7 | LV Room Decorative Indoor Unit | L17 LV Room (OB.17.004) | EDLP
ADP-O-L17-004-HVAC-DX(OU)-001 | O | SAU | L17 | 8 | LV Room Outdoor Unit | L17 LV Room (OB.17.001) | EDLP
ADP-O-L17-004-HVAC-DX(IU)-002 | O | SAU | L17 | 9 | LV Room Decorative Indoor Unit | L17 LV Room (OB.17.004) | EDLP
ADP-O-L17-004-HVAC-DX(OU)-002 | O | SAU | L17 | 10 | LV Room Outdoor Unit | L17 LV Room (OB.17.001) | EDLP
ADP-O-L17-005-HVAC-DX(IU)-001 | O | SAU | L17 | 11 | UPS & CBS Room Decorative Indoor Unit | L17 UPS & CBS Room (OB.17.005) | EDLP
ADP-O-L17-005-HVAC-DX(OU)-001 | O | SAU | L17 | 12 | UPS & CBS Room Outdoor Unit | L17 UPS & CBS Room (OB.17.001) | EDLP
ADP-O-L01-017-HVAC-DX(IU)-001 | O | SAU | L01 | 1 | Control Room Ceiling Suspended Indoor Unit | L01 Control Room (OB.01.017) | EDLP
ADP-O-L03-017-HVAC-DX(OU)-001 | O | SAU | L01 | 2 | CLEANING ROOM Outdoor Unit | L01 CLEANING ROOM (OT.03.007) | EDLP
ADP-O-L01-016-HVAC-DX(IU)-001 | O | SAU | L01 | 3 | Security Room Decorative Indoor Unit | L01 Security Room (OB.01.016) | EDLP
ADP-O-L03-016-HVAC-DX(OU)-001 | O | SAU | L01 | 4 | CLEANING ROOM Outdoor Unit | L01 CLEANING ROOM (OT.03.007) | EDLP
ADP-O-B01-001-HVAC-DX(IU)-001 | O | SAU | B01 | 1 | Central Bakery Room Ducted Indoor Unit | B01 Central Bakery Room (OB.B01.001) | EDLP
ADP-O-B01-001-HVAC-DX(OU)-001 | O | SAU | B01 | 2 | Central Bakery Room Outdoor Unit | B01 Central Bakery Room (Parking Area) | EDLP
ADP-O-B01-004-HVAC-DX(IU)-001 | O | SAU | B01 | 3 | Waste Room Decorative Indoor Unit | B01 Waste Room (OB.B01.004) | EDLP
ADP-O-B01-004-HVAC-DX(OU)-001 | O | SAU | B01 | 4 | Waste Room Outdoor Unit | B01 Waste Room (Parking Area) | EDLP
ADP-O-B01-004-HVAC-DX(IU)-002 | O | SAU | B01 | 5 | Waste Room Decorative Indoor Unit | B01 Waste Room (OB.B01.004) | EDLP
ADP-O-B01-004-HVAC-DX(OU)-002 | O | SAU | B01 | 6 | Waste Room Outdoor Unit | B01 Waste Room (Parking Area) | EDLP
ADP-O-B01-012-HVAC-DX(IU)-001 | O | SAU | B01 | 7 | Transformer Room Decorative Indoor Unit | B01 Transformer Room (OB.B01.012) | EDLP
ADP-O-B01-012-HVAC-DX(OU)-001 | O | SAU | B01 | 8 | Transformer Room Outdoor Unit | B01 Transformer Room (Parking Area) | EDLP
ADP-O-B01-012-HVAC-DX(IU)-002 | O | SAU | B01 | 9 | Transformer Room Decorative Indoor Unit | B01 Transformer Room (OB.B01.012) | EDLP
ADP-O-B01-012-HVAC-DX(OU)-002 | O | SAU | B01 | 10 | Transformer Room Outdoor Unit | B01 Transformer Room (Parking Area) | EDLP
ADP-O-B01-012-HVAC-DX(IU)-003 | O | SAU | B01 | 11 | Transformer Room Decorative Indoor Unit | B01 Transformer Room (OB.B01.012) | EDLP
ADP-O-B01-012-HVAC-DX(OU)-003 | O | SAU | B01 | 12 | Transformer Room Outdoor Unit | B01 Transformer Room (Parking Area) | EDLP
ADP-O-B01-012-HVAC-DX(IU)-004 | O | SAU | B01 | 13 | Transformer Room Decorative Indoor Unit | B01 Transformer Room (OB.B01.012) | EDLP
ADP-O-B01-012-HVAC-DX(OU)-004 | O | SAU | B01 | 14 | Transformer Room Outdoor Unit | B01 Transformer Room (Parking Area) | EDLP
ADP-O-B01-012-HVAC-DX(IU)-005 | O | SAU | B01 | 15 | Transformer Room Decorative Indoor Unit | B01 Transformer Room (OB.B01.012) | EDLP
ADP-O-B01-012-HVAC-DX(OU)-005 | O | SAU | B01 | 16 | Transformer Room Outdoor Unit | B01 Transformer Room (Parking Area) | EDLP
ADP-O-B01-012-HVAC-DX(IU)-006 | O | SAU | B01 | 17 | Transformer Room Decorative Indoor Unit | B01 Transformer Room (OB.B01.012) | EDLP
ADP-O-B01-012-HVAC-DX(OU)-006 | O | SAU | B01 | 18 | Transformer Room Outdoor Unit | B01 Transformer Room (Parking Area) | EDLP
ADP-O-B01-014-HVAC-DX(IU)-001 | O | SAU | B01 | 19 | MV Room Decorative Indoor Unit | B01 MV Room (OB.B01.014) | EDLP
ADP-O-B01-014-HVAC-DX(OU)-001 | O | SAU | B01 | 20 | MV Room Outdoor Unit | B01 MV Room (Parking Area) | EDLP
ADP-O-B01-014-HVAC-DX(IU)-002 | O | SAU | B01 | 21 | MV Room Decorative Indoor Unit | B01 MV Room (OB.B01.014) | EDLP
ADP-O-B01-014-HVAC-DX(OU)-002 | O | SAU | B01 | 22 | MV Room Outdoor Unit | B01 MV Room (Parking Area) | EDLP
ADP-O-B01-013-HVAC-DX(IU)-001 | O | SAU | B01 | 23 | LV Room Decorative Indoor Unit | B01 LV Room (OB.B01.013) | EDLP
ADP-O-B01-013-HVAC-DX(OU)-001 | O | SAU | B01 | 24 | LV Room Outdoor Unit | B01 LV Room (Parking Area) | EDLP
ADP-O-B01-013-HVAC-DX(IU)-002 | O | SAU | B01 | 25 | LV Room Decorative Indoor Unit | B01 LV Room (OB.B01.013) | EDLP
ADP-O-B01-013-HVAC-DX(OU)-002 | O | SAU | B01 | 26 | LV Room Outdoor Unit | B01 LV Room (Parking Area) | EDLP
ADP-O-B02-001-HVAC-DX(IU)-001 | O | SAU | B02 | 1 | UPS/BATT ROOM Ducted Indoor Unit | B02 UPS/BATT ROOM (OB.B02.001) | EDLP
ADP-O-B02-001-HVAC-DX(OU)-001 | O | SAU | B02 | 2 | UPS/BATT ROOM Outdoor Unit | B02 UPS/BATT ROOM (Parking Area) | EDLP
ADP-R-L76-000-HVAC-DX(IU)-001 | R | SAU | L76 | 1 | Decorative Indoor Unit | Lift Motor Room | EDLP
ADP-R-L76-000-HVAC-DX(OU)-001 | R | SAU | L76 | 2 | Outdoor Unit | Level 76 | EDLP
ADP-R-L76-000-HVAC-DX(IU)-001 | R | SAU | L76 | 3 | Decorative Indoor Unit | Lift Motor Room | EDLP
ADP-R-L76-000-HVAC-DX(OU)-001 | R | SAU | L76 | 4 | Outdoor Unit | Level 76 | EDLP
ADP-R-L76-000-HVAC-DX(IU)-001 | R | SAU | L76 | 5 | Decorative Indoor Unit | Lift Motor Room | EDLP
ADP-R-L76-000-HVAC-DX(OU)-001 | R | SAU | L76 | 6 | Outdoor Unit | Level 76 | EDLP
ADP-R-B01-000-HVAC-DX(IU)-001 | R | SAU | B01 | 1 | Decorative Indoor Unit | UPS Room | EDLP
ADP-R-B01-000-HVAC-DX(OU)-001 | R | SAU | B01 | 2 | Outdoor Unit | Level B01 | EDLP
ADP-R-B01-000-HVAC-DX(IU)-001 | R | SAU | B01 | 3 | Decorative Indoor Unit | Refuse Room | EDLP
ADP-R-B01-000-HVAC-DX(OU)-001 | R | SAU | B01 | 4 | Outdoor Unit | Level B01 | EDLP
ADP-Y-L29-005-HVAC-DX(IU)-001 | Y | SAU | L29 | 1 | CBS Room Decorative Indoor Unit | L29 CBS Room (YB.29.005) | EDLP
ADP-Y-L29-005-HVAC-DX(OU)-001 | Y | SAU | L29 | 2 | CBS Room Outdoor Unit | L29 CBS Room (YB.29.001) | EDLP
ADP-Y-L03-001-HVAC-DX(IU)-001 | Y | SAU | L03 | 1 | UPS Room Decorative Indoor Unit | L03 UPS Room (YB.03.001) | EDLP
ADP-Y-L03-001-HVAC-DX(OU)-001 | Y | SAU | L03 | 2 | UPS Room Outdoor Unit | L03 UPS Room (YB.03.008) | EDLP
ADP-Y-L03-010-HVAC-DX(IU)-001 | Y | SAU | L03 | 3 | LV Room Decorative Indoor Unit | L03 LV Room (YB.03.010) | EDLP
ADP-Y-L03-010-HVAC-DX(OU)-001 | Y | SAU | L03 | 4 | LV Room Outdoor Unit | L03 LV Room (YB.03.008) | EDLP
ADP-Y-L03-010-HVAC-DX(IU)-002 | Y | SAU | L03 | 5 | LV Room Decorative Indoor Unit | L03 LV Room (YB.03.010) | EDLP
ADP-Y-L03-010-HVAC-DX(OU)-002 | Y | SAU | L03 | 6 | LV Room Outdoor Unit | L03 LV Room (YB.03.008) | EDLP
ADP-Y-L03-010-HVAC-DX(IU)-003 | Y | SAU | L03 | 7 | LV Room Decorative Indoor Unit | L03 LV Room (YB.03.010) | EDLP
ADP-Y-L03-010-HVAC-DX(OU)-003 | Y | SAU | L03 | 8 | LV Room Outdoor Unit | L03 LV Room (YB.03.008) | EDLP
ADP-Y-L01-021-HVAC-DX(IU)-001 | Y | SAU | L01 | 1 | Main IT Room Decorative Indoor Unit | L01 Main IT Room (YB.L01.021) | EDLP
ADP-Y-B01-021-HVAC-DX(OU)-001 | Y | SAU | L01 | 2 | Main IT Room Outdoor Unit | B01 (Parking Area) | EDLP
ADP-Y-L01-010-HVAC-DX(IU)-001 | Y | SAU | L01 | 3 | Control Room Decorative Indoor Unit | L01 Control Room (YB.B01.010) | EDLP
ADP-Y-B01-010-HVAC-DX(OU)-001 | Y | SAU | L01 | 4 | Control Room Outdoor Unit | B01 (Parking Area) | EDLP
ADP-Y-B01-006-HVAC-DX(IU)-001 | Y | SAU | B01 | 1 | Garbage Room Decorative Indoor Unit | B01 Garbage Room (YB.B01.006) | EDLP
ADP-Y-B01-006-HVAC-DX(OU)-001 | Y | SAU | B01 | 2 | Garbage Room Outdoor Unit | B01 Garbage Room (Parking Area) | EDLP
ADP-Y-B01-006-HVAC-DX(IU)-002 | Y | SAU | B01 | 3 | Garbage Room Decorative Indoor Unit | B01 Garbage Room (YB.B01.006) | EDLP
ADP-Y-B01-006-HVAC-DX(OU)-002 | Y | SAU | B01 | 4 | Garbage Room Outdoor Unit | B01 Garbage Room (Parking Area) | EDLP
ADP-Y-B01-001-HVAC-DX(IU)-001 | Y | SAU | B01 | 5 | Office MDF Room Decorative Indoor Unit | B01 Office MDF Room (YB.B01.001) | EDLP
ADP-Y-B01-001-HVAC-DX(OU)-001 | Y | SAU | B01 | 6 | Office MDF Room Outdoor Unit | B01 Office MDF Room (Parking Area) | EDLP
ADP-Y-B01-101-HVAC-DX(IU)-001 | Y | SAU | B01 | 7 | MV Room Decorative Indoor Unit | B01 MV Room (BB.B01.101) | EDLP
ADP-Y-B01-101-HVAC-DX(OU)-001 | Y | SAU | B01 | 8 | MV Room Outdoor Unit | B01 MV Room (Parking Area) | EDLP
ADP-Y-B01-101-HVAC-DX(IU)-002 | Y | SAU | B01 | 9 | MV Room Decorative Indoor Unit | B01 MV Room (BB.B01.101) | EDLP
ADP-Y-B01-101-HVAC-DX(OU)-002 | Y | SAU | B01 | 10 | MV Room Outdoor Unit | B01 MV Room (Parking Area) | EDLP
ADP-Y-B01-100-HVAC-DX(IU)-001 | Y | SAU | B01 | 11 | Transformer Room Decorative Indoor Unit | B01 Transformer Room (BB.B01.100) | EDLP
ADP-Y-B01-100-HVAC-DX(OU)-001 | Y | SAU | B01 | 12 | Transformer Room Outdoor Unit | B01 Transformer Room (Parking Area) | EDLP
ADP-Y-B01-100-HVAC-DX(IU)-002 | Y | SAU | B01 | 13 | Transformer Room Decorative Indoor Unit | B01 Transformer Room (BB.B01.100) | EDLP
ADP-Y-B01-100-HVAC-DX(OU)-002 | Y | SAU | B01 | 14 | Transformer Room Outdoor Unit | B01 Transformer Room (Parking Area) | EDLP
ADP-Y-B01-102-HVAC-DX(IU)-001 | Y | SAU | B01 | 15 | LV Room Decorative Indoor Unit | B01 LV Room (BB.B01.102) | EDLP
ADP-Y-B01-102-HVAC-DX(OU)-001 | Y | SAU | B01 | 16 | LV Room Outdoor Unit | B01 LV Room (Parking Area) | EDLP
ADP-Y-B02-002-HVAC-DX(IU)-001 | Y | SAU | B02 | 1 | CBS Room Decorative Indoor Unit | B02 CBS Room (BB.B01.002) | EDLP
ADP-Y-B02-002-HVAC-DX(OU)-001 | Y | SAU | B02 | 2 | CBS Room Outdoor Unit | B02 CBS Room (Parking Area) | EDLP
ADP-Y-B02-001-HVAC-DX(IU)-001 | Y | SAU | B02 | 3 | UPS Room Decorative Indoor Unit | B02 UPS Room (BB.B01.001) | EDLP
ADP-Y-B02-001-HVAC-DX(OU)-001 | Y | SAU | B02 | 4 | UPS Room Outdoor Unit | B02 UPS Room (Parking Area) | EDLP
ADP-Z-L01-012-HVAC-DX(IU)-001 | Z | SAU | L01 | 1 | Main IT Room Decorative Indoor Unit | L01 Main IT Room (ZB.01.012) | EDLP
ADP-Z-B01-012-HVAC-DX(OU)-001 | Z | SAU | L01 | 2 | Main IT Room Outdoor Unit | B01 Main IT Room (Ramp Area) | EDLP
ADP-Z-L01-014-HVAC-DX(IU)-001 | Z | SAU | L01 | 3 | Control Room Decorative Indoor Unit | L01 Control Room (ZB.01.014) | EDLP
ADP-Z-B01-014-HVAC-DX(OU)-001 | Z | SAU | L01 | 4 | Control Room Outdoor Unit | B01 Control Room (Ramp Area) | EDLP
ADP-Z-B01-003-HVAC-DX(IU)-001 | Z | SAU | B01 | 1 | RESIDENTIAL MDF RM. Decorative Indoor Unit | B01 RESIDENTIAL MDF RM. (ZB.B01.003) | EDLP
ADP-Z-B01-003-HVAC-DX(OU)-001 | Z | SAU | B01 | 2 | RESIDENTIAL MDF RM. Outdoor Unit | B01 RESIDENTIAL MDF RM. (Parking Area) | EDLP
ADP-Z-B01-012-HVAC-DX(IU)-001 | Z | SAU | B01 | 3 | Transformer Room Decorative Indoor Unit | B01 Transformer Room (ZB.B01.012) | EDLP
ADP-Z-B01-012-HVAC-DX(OU)-001 | Z | SAU | B01 | 4 | Transformer Room Outdoor Unit | B01 Transformer Room (Parking Area) | EDLP
ADP-Z-B01-012-HVAC-DX(IU)-002 | Z | SAU | B01 | 5 | Transformer Room Decorative Indoor Unit | B01 Transformer Room (ZB.B01.012) | EDLP
ADP-Z-B01-012-HVAC-DX(OU)-002 | Z | SAU | B01 | 6 | Transformer Room Outdoor Unit | B01 Transformer Room (Parking Area) | EDLP
ADP-Z-B01-012-HVAC-DX(IU)-003 | Z | SAU | B01 | 7 | Transformer Room Decorative Indoor Unit | B01 Transformer Room (ZB.B01.012) | EDLP
ADP-Z-B01-012-HVAC-DX(OU)-003 | Z | SAU | B01 | 8 | Transformer Room Outdoor Unit | B01 Transformer Room (Parking Area) | EDLP
ADP-Z-B01-012-HVAC-DX(IU)-004 | Z | SAU | B01 | 9 | Transformer Room Decorative Indoor Unit | B01 Transformer Room (ZB.B01.012) | EDLP
ADP-Z-B01-012-HVAC-DX(OU)-004 | Z | SAU | B01 | 10 | Transformer Room Outdoor Unit | B01 Transformer Room (Parking Area) | EDLP
ADP-Z-B01-012-HVAC-DX(IU)-005 | Z | SAU | B01 | 11 | Transformer Room Decorative Indoor Unit | B01 Transformer Room (ZB.B01.012) | EDLP
ADP-Z-B01-012-HVAC-DX(OU)-005 | Z | SAU | B01 | 12 | Transformer Room Outdoor Unit | B01 Transformer Room (Parking Area) | EDLP
ADP-Z-B01-012-HVAC-DX(IU)-006 | Z | SAU | B01 | 13 | Transformer Room Decorative Indoor Unit | B01 Transformer Room (ZB.B01.012) | EDLP
ADP-Z-B01-012-HVAC-DX(OU)-006 | Z | SAU | B01 | 14 | Transformer Room Outdoor Unit | B01 Transformer Room (Parking Area) | EDLP
ADP-Z-B01-013-HVAC-DX(IU)-001 | Z | SAU | B01 | 15 | MV Room Decorative Indoor Unit | B01 MV Room (ZB.B01.013) | EDLP
ADP-Z-B01-013-HVAC-DX(OU)-001 | Z | SAU | B01 | 16 | MV Room Outdoor Unit | B01 MV Room (Parking Area) | EDLP
ADP-Z-B01-013-HVAC-DX(IU)-002 | Z | SAU | B01 | 17 | MV Room Decorative Indoor Unit | B01 MV Room (ZB.B01.013) | EDLP
ADP-Z-B01-013-HVAC-DX(OU)-002 | Z | SAU | B01 | 18 | MV Room Outdoor Unit | B01 MV Room (Parking Area) | EDLP
ADP-Z-B01-011-HVAC-DX(IU)-001 | Z | SAU | B01 | 19 | LV Room Decorative Indoor Unit | B01 LV Room (ZB.B01.011) | EDLP
ADP-Z-B01-011-HVAC-DX(OU)-001 | Z | SAU | B01 | 20 | LV Room Outdoor Unit | B01 LV Room (Parking Area) | EDLP
ADP-Z-B02-035A-HVAC-DX(IU)-001 | Z | SAU | B02 | 1 | CBS Room Decorative Indoor Unit | B02 CBS Room (ZB.B02.035A) | EDLP
ADP-Z-B02-035A-HVAC-DX(OU)-001 | Z | SAU | B02 | 2 | CBS Room Outdoor Unit | B02 CBS Room (Parking Area) | EDLP