## M1
ENG_REF | BUILDING_ZONE | CATEGORY | FLOOR_LEVEL | SEQ_NO | DESCRIPTION | LOCATION | FED_FROM
ET-B1-1 | KT | ET | B1 | 1 | Expansion Tank | Chemical Treatment
ET-B1-2 | KT | ET | B1 | 2 | Expansion Tank | TBC
ET-B1-2 | KT | ET | B1 | 3 | Expansion Tank | Chemical Treatment
ET-B2-1 | KT | ET | B2 | 1 | Expansion Tank | Trash Room
ET-15-1 | KT | ET | L15 | 1 | Expansion Tank | TBC
ET-16-1 | KT | ET | L164 | 1 | Expansion Tank | TBC
ET-16-2 | KT | ET | L164 | 2 | Expansion Tank | TBC
ET-39-1 | KT | ET | L39 | 1 | Expansion Tank | TBC
ET-39-2 | KT | ET | L38 | 1 | Expansion Tank | TBC
ET-40-1 | KT | ET | L40 | 1 | Expansion Tank | TBC
ET-68-1 | KT | ET | L68 | 1 | Expansion Tank | Mechanical Room
ET-68-2 | KT | ET | L68 | 2 | Expansion Tank | Mechanical Room
ET-68-3 | KT | ET | L68 | 3 | Expansion Tank | Mechanical Room
ET-95-1 | KT | ET | L95 | 1 | Expansion Tank | TBC
ET-96-1 | KT | ET | L95 | 2 | Expansion Tank | TBC
ET-121-1 | KT | ET | L121 | 1 | Expansion Tank | TBC
ET-121-2 | KT | ET | L121 | 2 | Expansion Tank | TBC
ET-121-3 | KT | ET | L121 | 3 | Expansion Tank | TBC
ET-146-1 | KT | ET | L146 | 1 | Expansion Tank | Mechanical Room
ET-164-1 | KT | ET | L164 | 3 | Expansion Tank | Mechanical Room
ET-164-2 | KT | ET | L164 | 4 | Expansion Tank | Mechanical Room
AHU-B1-1 | KT | AHU | B1 | 1 | Air Handling Units | Conference Room
AHU-B3-1 | KT | AHU | B3 | 1 | Air Handling Units | TBC
AHU-B3-2 | KT | AHU | B3 | 2 | Air Handling Units | Mechanical Room
AHU-B1-H-1 | KT | AHU | B1 | 2 | Air Handling Units | MEP
AHU-B1-H-2 | KT | AHU | B1 | 3 | Air Handling Units | MEP
AHU-B1-H-3 | KT | AHU | B1 | 4 | Air Handling Units | Mechanical Room
AHU-B1-H-4 | KT | AHU | B1 | 5 | Air Handling Units | Mechanical Room
AHU-B1-H-5 | KT | AHU | B1 | 6 | Air Handling Units | Mechanical Room
AHU-B1-H-6 | KT | AHU | B1 | 7 | Air Handling Units | Mechanical Room
AHU-B1-H-7 | KT | AHU | B1 | 8 | Air Handling Units | Mechanical Room
AHU-B1-H-8 | KT | AHU | B1 | 9 | Air Handling Units | Mechanical Room
AHU-2-1 | KT | AHU | L2 | 1 | Air Handling Units | Residential Lobby
AHU-2-2 | KT | AHU | L2 | 2 | Air Handling Units | Office Lobby
AHU-2-3 | KT | AHU | L2 | 3 | Air Handling Units | Office Lobby
AHU-4-1 | KT | AHU | L4 | 1 | Air Handling Units | Residential Lobby
AHU-4-2 | KT | AHU | L4 | 2 | Air Handling Units | Office Lobby
AHU-4-3 | KT | AHU | L4 | 3 | Air Handling Units | Office Lobby
AHU-4-H-1 | KT | AHU | L4 | 4 | Air Handling Units | MEP
AHU-4-H-2 | KT | AHU | L4 | 5 | Air Handling Units | MEP
AHU-4-H-3 | KT | AHU | L4 | 6 | Air Handling Units | MEP
AHU-4-H-4 | KT | AHU | L4 | 7 | Air Handling Units | MEP
AHU-4-H-5 | KT | AHU | L4 | 8 | Air Handling Units | MEP
AHU-4-H-6 | KT | AHU | L4 | 9 | Air Handling Units | MEP
AHU-4-H-7 | KT | AHU | L4 | 10 | Air Handling Units | MEP
AHU-4-H-8 | KT | AHU | L4 | 11 | Air Handling Units | MEP
AHU-4-H-9 | KT | AHU | L4 | 12 | Air Handling Units | MEP
AHU-4-H-10 | KT | AHU | L4 | 13 | Air Handling Units | MEP
AHU-4-H-11 | KT | AHU | L4 | 14 | Air Handling Units | MEP
AHU-4-H-12 | KT | AHU | L4 | 15 | Air Handling Units | MEP
AHU-4-H-13 | KT | AHU | L4 | 16 | Air Handling Units | MEP
AHU-15-1 | KT | AHU | L15 | 1 | Air Handling Units | Mechanical Room
AHU-15-2 | KT | AHU | L15 | 2 | Air Handling Units | Mechanical Room
AHU-15-3 | KT | AHU | L15 | 3 | Air Handling Units | Mechanical Room
AHU-15-4 | KT | AHU | L15 | 4 | Air Handling Units | Mechanical Room
AHU-15-5 | KT | AHU | L15 | 5 | Air Handling Units | Mechanical Room
AHU-15-6 | KT | AHU | L15 | 6 | Air Handling Units | Mechanical Room
AHU-15-7 | KT | AHU | L15 | 7 | Air Handling Units | Mechanical Room
AHU-15-8 | KT | AHU | L15 | 8 | Air Handling Units | Mechanical Room
AHU-15-9 | KT | AHU | L15 | 9 | Air Handling Units | Mechanical Room
AHU-15-10 | KT | AHU | L15 | 10 | Air Handling Units | Mechanical Room
AHU-15-11 | KT | AHU | L15 | 11 | Air Handling Units | Mechanical Room
AHU-15-12 | KT | AHU | L15 | 12 | Air Handling Units | Mechanical Room
AHU-15-13 | KT | AHU | L15 | 13 | Air Handling Units | Mechanical Room
AHU-15-C | KT | AHU | L15 | 14 | Air Handling Units | Mechanical Room
AHU-16-C | KT | AHU | L16 | 1 | Air Handling Units | MEP
AHU-16-1 | KT | AHU | L16 | 2 | Air Handling Units | MEP
AHU-16-2 | KT | AHU | L16 | 3 | Air Handling Units | MEP
AHU-18-1 | KT | AHU | L18 | 1 | Air Handling Units | Refuge Area
AHU-18-2 | KT | AHU | L18 | 2 | Air Handling Units | Refuge Area
AHU-18-3 | KT | AHU | L18 | 3 | Air Handling Units | Refuge Area
AHU-38-1 | KT | AHU | L38 | 1 | Air Handling Units | Refuge Floor MEP
AHU-38-2 | KT | AHU | L38 | 2 | Air Handling Units | Refuge Floor MEP
AHU-38-3 | KT | AHU | L38 | 3 | Air Handling Units | Refuge Floor MEP
AHU-39-C | KT | AHU | L39 | 1 | Air Handling Units | Core
AHU-39-1 | KT | AHU | L39 | 2 | Air Handling Units | Sky Lobby
AHU-39-2 | KT | AHU | L39 | 3 | Air Handling Units | Sky Lobby
AHU-40-C | KT | AHU | L40 | 1 | Air Handling Units | Core
AHU-40-1 | KT | AHU | L40 | 2 | Air Handling Units | Sky Lobby
AHU-40-2 | KT | AHU | L40 | 3 | Air Handling Units | See Comments
AHU-56-1 | KT | AHU | L56 | 1 | Air Handling Units | Refuge Floor MEP
AHU-56-2 | KT | AHU | L57 | 1 | Air Handling Units | Refuge Floor MEP
AHU-56-3 | KT | AHU | L58 | 1 | Air Handling Units | Refuge Floor MEP
AHU-68-C | KT | AHU | L68 | 1 | Air Handling Units | Vestibule
AHU-69-C | KT | AHU | L69 | 1 | Air Handling Units | Mechanical Room
AHU-71-1 | KT | AHU | L71 | 1 | Air Handling Units | Refuge Floor MEP
AHU-71-2 | KT | AHU | L71 | 2 | Air Handling Units | Refuge Floor MEP
AHU-71-3 | KT | AHU | L71 | 3 | Air Handling Units | Refuge Floor MEP
AHU-84-1 | KT | AHU | L84 | 1 | Air Handling Units | Plenum
AHU-84-2 | KT | AHU | L84 | 2 | Air Handling Units | Plenum
AHU-84-3 | KT | AHU | L84 | 3 | Air Handling Units | Mechanical Room
AHU-84-4 | KT | AHU | L84 | 4 | Air Handling Units | Mechanical Room
AHU-86-1 | KT | AHU | L86 | 1 | Air Handling Units | Refuge Floor MEP
AHU-86-2 | KT | AHU | L86 | 2 | Air Handling Units | Refuge Floor MEP
AHU-86-3 | KT | AHU | L86 | 3 | Air Handling Units | Refuge Floor MEP
AHU-95-C | KT | AHU | L95 | 1 | Air Handling Units | Mechanical Room
AHU-96-C | KT | AHU | L96 | 1 | Air Handling Units | Mechanical Room
AHU-104-1 | KT | AHU | L104 | 1 | Air Handling Units | Refuge Floor MEP
AHU-104-2 | KT | AHU | L104 | 2 | Air Handling Units | Refuge Floor MEP
AHU-104-3 | KT | AHU | L104 | 3 | Air Handling Units | Refuge Floor MEP
AHU-121-C | KT | AHU | L121 | 1 | Air Handling Units | Mechanical Room
AHU-122-C | KT | AHU | L122 | 1 | Air Handling Units | Mechanical Room
AHU-124-1 | KT | AHU | L124 | 1 | Air Handling Units | Refuge Floor MEP
AHU-124-2 | KT | AHU | L124 | 2 | Air Handling Units | Refuge Floor MEP
AHU-124-3 | KT | AHU | L124 | 3 | Air Handling Units | Refuge Floor MEP
AHU-146-1 | KT | AHU | L146 | 1 | Air Handling Units | Mechanical Room
AHU-146-2 | KT | AHU | L146 | 2 | Air Handling Units | Mechanical Room
AHU-154-1 | KT | AHU | L154 | 1 | Air Handling Units | Refuge Floor MEP
AHU-154-2 | KT | AHU | L154 | 2 | Air Handling Units | Refuge Floor MEP
AHU-154-3 | KT | AHU | L154 | 3 | Air Handling Units | Refuge Floor MEP
AHU-161-1 | KT | AHU | L161 | 1 | Air Handling Units | Mechanical Room
AHU-161-2 | KT | AHU | L161 | 2 | Air Handling Units | Mechanical Room
AHU-161-3 | KT | AHU | L161 | 3 | Air Handling Units | Mechanical Room
AHU-161-4 | KT | AHU | L161 | 4 | Air Handling Units | Mechanical Room
MAU-B2-1 | KT | AHU | B2 | 1 | Make up Air unit | Locker
MAU-B2-2 | KT | AHU | B2 | 2 | Make up Air unit | Staff lounge
MAU-B2-3 | KT | AHU | B2 | 3 | Make up Air unit | BOH
MAU-B1-1 | KT | AHU | B1 | 10 | Make up Air unit | Mechanical Room
MAU-B1-2 | KT | AHU | B1 | 11 | Make up Air unit | Mechanical Room
MAU-B1-H-1 | KT | AHU | B1 | 12 | Make up Air unit | Mechanical Room
MAU-B1-H-2 | KT | AHU | B1 | 13 | Make up Air unit | Mechanical Room
MAU-4-H-1 | KT | AHU | L4 | 17 | Make up Air unit | MEP
MAU-4-H-2 | KT | AHU | L4 | 18 | Make up Air unit | MEP
MAU-16-1 | KT | AHU | L16 | 4 | Make up Air unit | See Comments
MAU-16-2 | KT | AHU | L16 | 5 | Make up Air unit | See Comments
MAU-16-3 | KT | AHU | L16 | 6 | Make up Air unit | See Comments
MAU-39-1 | KT | AHU | L39 | 4 | Make up Air unit | Mechanical Room
MAU-39-2 | KT | AHU | L39 | 5 | Make up Air unit | Mechanical Room
MAU-39-3 | KT | AHU | L39 | 6 | Make up Air unit | Mechanical Room
MAU-39-4 | KT | AHU | L39 | 7 | Make up Air unit | Mechanical Room
MAU-39-5 | KT | AHU | L39 | 8 | Make up Air unit | Mechanical Room
MAU-39-6 | KT | AHU | L39 | 9 | Make up Air unit | Mechanical Room
MAU-39-7 | KT | AHU | L39 | 10 | Make up Air unit | Mechanical Room
MAU-40-1 | KT | AHU | L40 | 4 | Make up Air unit | Mechanical Room
MAU-40-2 | KT | AHU | L40 | 5 | Make up Air unit | Mechanical Room
MAU-40-3 | KT | AHU | L40 | 6 | Make up Air unit | Mechanical Room
MAU-40-4 | KT | AHU | L40 | 7 | Make up Air unit | Mechanical Room
MAU-40-5 | KT | AHU | L40 | 8 | Make up Air unit | Mechanical Room
MAU-40-6 | KT | AHU | L40 | 9 | Make up Air unit | Mechanical Room
MAU-68-1 | KT | AHU | L68 | 2 | Make up Air unit | Mechanical Room
MAU-68-2 | KT | AHU | L68 | 3 | Make up Air unit | Mechanical Room
MAU-68-3 | KT | AHU | L68 | 4 | Make up Air unit | Mechanical Room
MAU-68-4 | KT | AHU | L68 | 5 | Make up Air unit | Mechanical Room
MAU-68-5 | KT | AHU | L68 | 6 | Make up Air unit | Mechanical Room
MAU-68-6 | KT | AHU | L68 | 7 | Make up Air unit | Mechanical Room
MAU-69-1 | KT | AHU | L69 | 2 | Make up Air unit | Mechanical Room
MAU-69-2 | KT | AHU | L69 | 3 | Make up Air unit | Mechanical Room
MAU-69-3 | KT | AHU | L69 | 4 | Make up Air unit | Mechanical Room
MAU-95-1 | KT | AHU | L95 | 2 | Make up Air unit | Mechanical Room
MAU-95-2 | KT | AHU | L95 | 3 | Make up Air unit | Mechanical Room
MAU-96-1 | KT | AHU | L96 | 2 | Make up Air unit | Mechanical Room
MAU-96-2 | KT | AHU | L96 | 3 | Make up Air unit | Mechanical Room
MAU-96-3 | KT | AHU | L96 | 4 | Make up Air unit | Mechanical Room
MAU-96-4 | KT | AHU | L96 | 5 | Make up Air unit | Mechanical Room
MAU-96-5 | KT | AHU | L96 | 6 | Make up Air unit | Mechanical Room
MAU-121-1 | KT | AHU | L121 | 2 | Make up Air unit | Mechanical Room
MAU-121-2 | KT | AHU | L121 | 3 | Make up Air unit | Mechanical Room
MAU-121-3 | KT | AHU | L121 | 4 | Make up Air unit | Mechanical Room
MAU-122-1 | KT | AHU | L122 | 2 | Make up Air unit | Mechanical Room
GSF-B3-1-1 | KT | SAF | B3 | 1 | Garage Supply Fan | Car Park
GSF-B3-1-2 | KT | SAF | B3 | 2 | Garage Supply Fan | Car Park
GSF-B3-1-3 | KT | SAF | B3 | 3 | Garage Supply Fan | Car Park
GSF-B3-1-4 | KT | SAF | B3 | 4 | Garage Supply Fan | Car Park
GSF-B3-2-1 | KT | SAF | B3 | 5 | Garage Supply Fan | Car Park
GSF-B3-2-2 | KT | SAF | B3 | 6 | Garage Supply Fan | Car Park
GSF-B3-2-3 | KT | SAF | B3 | 7 | Garage Supply Fan | Car Park
GSF-B3-2-4 | KT | SAF | B3 | 8 | Garage Supply Fan | Car Park
GSF-B3-3-1 | KT | SAF | B3 | 9 | Garage Supply Fan | Car Park
GSF-B3-3-2 | KT | SAF | B3 | 10 | Garage Supply Fan | Car Park
GSF-B3-3-3 | KT | SAF | B3 | 11 | Garage Supply Fan | Car Park
GSF-B3-3-4 | KT | SAF | B3 | 12 | Garage Supply Fan | Car Park
GSF-B3-4-1 | KT | SAF | B3 | 13 | Garage Supply Fan | Car Park
GSF-B3-4-2 | KT | SAF | B3 | 14 | Garage Supply Fan | Car Park
GSF-B3-4-3 | KT | SAF | B3 | 15 | Garage Supply Fan | Car Park
GSF-B3-4-4 | KT | SAF | B3 | 16 | Garage Supply Fan | Car Park
GSF-B3-5-1 | KT | SAF | B3 | 17 | Garage Supply Fan | Car Park
GSF-B3-5-2 | KT | SAF | B3 | 18 | Garage Supply Fan | Car Park
GSF-B3-5-3 | KT | SAF | B3 | 19 | Garage Supply Fan | Car Park
GSF-B3-5-4 | KT | SAF | B3 | 20 | Garage Supply Fan | Car Park
GSF-B3-5-5 | KT | SAF | B3 | 21 | Garage Supply Fan | Car Park
GSF-B3-5-6 | KT | SAF | B3 | 22 | Garage Supply Fan | Car Park
GSF-B3-5-7 | KT | SAF | B3 | 23 | Garage Supply Fan | Car Park
GSF-B3-5-8 | KT | SAF | B3 | 24 | Garage Supply Fan | Car Park
GSF-B3-7-1 | KT | SAF | B3 | 25 | Garage Supply Fan | Car Park
GSF-B3-7-2 | KT | SAF | B3 | 26 | Garage Supply Fan | Car Park
GSF-B3-7-3 | KT | SAF | B3 | 27 | Garage Supply Fan | Car Park
GSF-B3-7-4 | KT | SAF | B3 | 28 | Garage Supply Fan | Car Park
GSF-B3-9-1 | KT | SAF | B3 | 29 | Garage Supply Fan | Car Park
GSF-B3-9-2 | KT | SAF | B3 | 30 | Garage Supply Fan | Car Park
GSF-B3-9-3 | KT | SAF | B3 | 31 | Garage Supply Fan | Car Park

## Sheet1
Chillers | CHL
Chilled Water Pumps | CHP
Chilled Water Pressurisation Unit | CPU
Chilled Water Chemical Dosing | CWD
Cooling Towers | CTO
Condenser Water Pumps | CWP
Condenser Water Chemical Dosing | CDW
Expansion Tank | ET
Steam Boilers | SBL
LTHW Boilers | LBL
LTHW Water Pumps | LTP
LTHW Water Pressurisation Unit | LPU
LTHW Water Chemical Dosing | LCD
Air Handling Units | AHU
Heat Recovery AHU & Extract | HRA
Fresh Air Fans | FAF
Supply Air Fans | SAF
Ventilation Fans | VAF
Kitchen Hood Supply Fans | KHF
Extract / Exhaust Fans | EXF
Toilet Extract Fans | TEF
Kitchen Extract Fans | KEF
Kitchen Extract Ecology Units | KEU
Smoke Extract Fans | SEF
Smoke Make Up Fans | SMF
Staircase Pressurisation Fans | SPF
Pressurisation Fans | PRF
Car Park Exhaust Fans | CEF
Car Park Supply Fans | CSF
Car Park Jet Fans | JET
Close Control Units | CCU
Precision Air Handling Units | PAU
Pre-Conditioned Air Handling Units | PCA
Split AC Units | SAU
Variable Refrigerant Voulume Units | VRV
Variable Air Volume Units | VAV
Fan Coil Units | FCU
Heat Exchanger | HX
Air Curtains | ACT